## Guidelines
STAK-CHEX® PLUS RETICS DAILY ELECTRONIC FORM GUIDELINES
This form was created using Microsoft Office Excel 2016. Some formatting and functionality may be lost if an older version is used.
Supply your lab number, instrument number, lot number and from/to dates every time you submit data. Please update your account with any instrument and software changes (upgrades, additions, deletions, etc.).
1. Type your data on the red tab. Handwritten data will not be accepted.
2. If you are reporting data from two instruments, enter the data for each on a separate input form, clearly marked with the complete identification information.
3. When reporting two or more lot numbers, enter each lot on a separate form, with the appropriate lot number on each.
4. When reporting data for more than one shift, enter each shift on a separate form, and number them Shift 1, Shift 2 or Shift 3. All data will be processed using Shift 1 unless otherwise noted.
5. Once you have entered your values, save the form to your files. The form may be uploaded via STATS-Link® or sent as an attachment via email to statsdata@streck.com.
If you have any questions about your lab number, instrument number, or any of the guidelines listed, please contact the STATS Department at (800) 898-9563 or statsdata@streck.com.

## Low
STATS® Submission Form |  |  | Daily | [9 empty] | STaK-Chex® Plus Retics
Facility and Instrument Information
Lab Number |  |  |  |  | Facility Name
Lot Number |  |  |  |  | Address
Expiration Date |  |  |  |  | City |  |  |  |  | State |  | Country |  | Zip Code
Start Date |  |  |  |  | Contact | [6 empty] | Phone
End Date |  |  |  |  | Email
Shift |  |  |  |  | Instrument Name
Reviewed By |  |  |  |  | Instrument Serial Number
[7 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62
[7 empty] | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech
[7 empty] | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date
Parameter | Assay Mean | Lower Limit | Upper Limit | Mean | 1 SD | CV%
WBC
Neut%
Neut#
Lym%
Lym#
Mono%
Mono#
Eos%
Eos#
Baso%
Baso#
NRBC%
NRBC#
RBC
HGB
HCT
MCV
MCH
MCHC
RDW%
RDW-SD
Ret%
Ret#
IRF
PLT
MPV
PCT
PDW
Manual Retic

## Normal
STATS® Submission Form |  |  | Daily | [9 empty] | STaK-Chex® Plus Retics
Facility and Instrument Information
Lab Number |  |  |  |  | Facility Name
Lot Number |  |  |  |  | Address
Expiration Date |  |  |  |  | City |  |  |  |  | State |  | Country |  | Zip Code
Start Date |  |  |  |  | Contact | [6 empty] | Phone
End Date |  |  |  |  | Email
Shift |  |  |  |  | Instrument Name
Reviewed By |  |  |  |  | Instrument Serial Number
[7 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62
[7 empty] | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech
[7 empty] | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date
Parameter | Assay Mean | Lower Limit | Upper Limit | Mean | 1 SD | CV%
WBC
Neut%
Neut#
Lym%
Lym#
Mono%
Mono#
Eos%
Eos#
Baso%
Baso#
NRBC%
NRBC#
RBC
HGB
HCT
MCV
MCH
MCHC
RDW%
RDW-SD
Ret%
Ret#
IRF
PLT
MPV
PCT
PDW
Manual Retic

## High
STATS® Submission Form |  |  | Daily | [9 empty] | STaK-Chex® Plus Retics
Facility and Instrument Information
Lab Number |  |  |  |  | Facility Name
Lot Number |  |  |  |  | Address
Expiration Date |  |  |  |  | City |  |  |  |  | State |  | Country |  | Zip Code
Start Date |  |  |  |  | Contact | [6 empty] | Phone
End Date |  |  |  |  | Email
Shift |  |  |  |  | Instrument Name
Reviewed By |  |  |  |  | Instrument Serial Number
[7 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62
[7 empty] | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech | Tech
[7 empty] | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date
Parameter | Assay Mean | Lower Limit | Upper Limit | Mean | 1 SD | CV%
WBC
Neut%
Neut#
Lym%
Lym#
Mono%
Mono#
Eos%
Eos#
Baso%
Baso#
NRBC%
NRBC#
RBC
HGB
HCT
MCV
MCH
MCHC
RDW%
RDW-SD
Ret%
Ret#
IRF
PLT
MPV
PCT
PDW
Manual Retic