|  | Preanalysis |  |  |  | Analysis |  |  |  |  |  | Post Analysis |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Patient- 13X75mm EDTA tubes, BD Pediatric*, or BD MAP tubes* |  | Date: | Trainer Initials: | Trainee Initials: |  |  | Date: |  | Trainer Initials: | Trainee Initials: |  | Date: | Trainer Initials: |  | Trainee Initials: |  |
|  | Demonstrate knowledge of proper sample volume and stability. |  |  |  | Properly load a patient sample with the gap to dot.** |  |  |  |  |  | With proper patient identification, record and report according to lab procedures. |  |  |  |  |  |
|  | Demonstrate proper mixing, labeling, and removal of bubbles. |  |  |  | Visually correlate the tube with the result. |  |  |  |  |  | Retrieve a result and retransmit or reprint. |  |  |  |  |  |
| Quality Control- (ESR-Chex Plus) |  | Date: | Trainer Initials: | Trainee Initials: |  |  | Date: |  | Trainer Initials: | Trainee Initials: |  | Date: | Trainer Initials: |  | Trainee Initials: |  |
|  | Review the ESR-Chex Plus IFU*** and demonstrate proper mixing and storage. |  |  |  | Properly load a QC sample verifying corresponding cap color. |  |  |  |  |  | Identify if QC is acceptable by demonstrating knowledge of lot, mean and range. |  |  |  |  |  |
|  | Register a new lot of ESR-Chex Plus control. |  |  |  | Visually correlate the tube with the result. |  |  |  |  |  | With proper QC identification, record and report according to lab procedures. |  |  |  |  |  |
| Instrument Operation |  |  |  |  |  |  |  |  |  | Problem Solving |  |  |  |  |  |  |
|  |  |  |  |  | Date: | Trainer Initials: |  | Trainee Initials: |  | Identify Sample Abnormalities, Limitations and Error codes. |  | Date: |  | Trainer Initials: |  | Trainee Initials: |
| Load a transponder. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Identify the current test count. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Demonstrate Printer Operation Knowledge. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |